SPECIFICATIONS FILE

AI-Based Laser Eye Gaze Detection and Assistive Control System

1. Bit Specifications

These specifications define the digital processing parameters and numerical characteristics used in the gaze estimation and control pipeline.

| Parameter | Specification |
| --- | --- |
| Camera Resolution | 640 × 480 pixels |
| Frame Rate | 30 FPS |
| Landmark Precision | Floating point (MediaPipe) |
| Gaze Output Width | 8-bit per axis |
| Blink Detection Window | 15–30 frames |
| Servo PWM Resolution | 10-bit |
| Servo Angle Range | 0°–180° |
| Arithmetic Type | Floating point (vision), Fixed point (MCU) |
| Communication Type | UART Serial |
| Control Loop Rate | ≥ 20 Hz |

Explanation

- Facial landmarks are extracted using AI-based face mesh.

- Iris center is computed in floating-point precision for accuracy.

- Gaze direction is quantized before transmission to the microcontroller.

- Servo control uses PWM signals generated by the embedded controller.

- Real-time processing ensures responsive assistive interaction.

2. Target Specifications

These specifications define the design goals and expected system performance.

| Target Parameter | Target Value |
| --- | --- |
| End-to-End Latency | < 150 ms |
| Gaze Classification Accuracy | ≥ 90% |
| Blink Detection Accuracy | ≥ 95% |
| Power Consumption | < 2 W (system) |
| Real-Time Processing | Yes |
| Technology Target | Edge AI + Embedded |
| Implementation Platform | PC + ESP32 |
| Application Domain | Assistive Communication |
| Degrees of Freedom | 2-DOF (Pan–Tilt) |
| Laser Class | ≤ 5 mW (Class II) |

Design Goals

- Provide low-cost assistive communication

- Achieve real-time gaze tracking

- Ensure non-intrusive user interaction

- Enable physical pointing via laser

- Maintain portability and low power

- Support embedded hardware control

3. Output and Observations

Expected Output

The system captures the user’s eye movements and produces corresponding physical laser positioning through servo actuation.

Input

- Real-time facial video stream

- Eye and iris landmarks

- User blink patterns

Output

- Classified gaze direction (LEFT/RIGHT/UP/DOWN/CENTER)

- Blink detection signal

- Servo position commands

- Laser pointer activation

Observations from Testing

| Observation Parameter | Result |
| --- | --- |
| Gaze Tracking | Stable |
| Blink Detection | Reliable |
| Servo Response | Smooth |
| System Latency | Within real-time |
| User Comfort | Non-intrusive |
| Hardware Utilization | Low |
| Tracking Robustness | Good under indoor lighting |

Key Observations

- AI-based landmarks improve robustness over classical methods

- EAR-based blink detection reduces false triggers

- Pan–tilt mechanism provides accurate physical pointing

- System operates in real time on standard hardware

- Low-cost components make system accessible

4. Performance Analysis

Timing Performance

- Real-time processing achieved at ~30 FPS

- No significant frame drops observed

- Servo response within acceptable delay

- Control loop stable under continuous operation

Power Analysis

- Vision processing handled by host processor

- Embedded unit consumes low power

- Suitable for portable assistive setups

- External servo supply prevents brownout

Area / Resource Analysis

- Minimal embedded resource usage

- Lightweight communication protocol

- Scalable to additional actuators

- Suitable for edge deployment

5. Design Constraints

- Requires adequate frontal face visibility

- Performance affected under very low lighting

- Extreme head rotation may reduce accuracy

- Single-user tracking in current implementation

- Requires initial calibration for best accuracy

- Dependent on camera frame quality

6. Datasheet

Device Name

EyeGaze Laser Assist System v1.0

Type

AI-Based Assistive Interaction System

Electrical Specifications

| Feature | Value |
| --- | --- |
| Supply Voltage (ESP32) | 5V |
| Servo Supply | External 5V |
| Operating Frequency | Up to 240 MHz (ESP32) |
| Camera Interface | USB |
| Communication | UART Serial |
| Power Mode | Low Power |

Functional Specifications

| Item | Description |
| --- | --- |
| Gaze Estimation | Landmark-based |
| Blink Detection | EAR method |
| Control Type | Pan–Tilt Laser |
| Interface | Serial |
| Clock Type | Single domain |
| Processing Mode | Real-time |
| Data Format | Floating + Fixed |

Environmental Specifications

| Parameter | Range |
| --- | --- |
| Operating Temperature | 0°C to 50°C |
| Storage Temperature | -20°C to 70°C |
| Humidity | 10% – 90% RH |
| Lighting Condition | Indoor recommended |

Interface Signals

| Signal | Direction | Description |
| --- | --- | --- |
| tx | Output | Serial transmit to ESP32 |
| rx | Input | Serial receive |
| pwm_pan | Output | Pan servo control |
| pwm_tilt | Output | Tilt servo control |
| laser_ctrl | Output | Laser enable |
| blink_flag | Internal | Blink detection status |
| gaze_cmd | Internal | Direction command |